## Complaince
TECHNICAL COMPLIANCE FORM
Ref: Tender No:
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER
TECHNICAL SPECIFICATION OF :- - " Dental Extraction forceps and Elevators"
Intended Use: To carry out extraction of teeth in adults.
Sr. No. | Name of the Vendor :
1 | Technical Specifications / Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
2 | Name of the Manufacturer : Hu-friedy instruments
3 | Model Name / Model No. of the Equipment (If the equipment is a combination of more than one equipment then list down the model no. pertaining to each) Can Quote more than one model.:
4 | Year of Introduction Internationally
5 | Year of Introduction in India
6 | Technical Specifications/Scope of supply
7 | " Dental Extraction forceps and Elevators " , complete as per below mentioned configuration and specifications: | Qty:
8 | Features and specifications required:
9 | All extraction forceps and elevators should be made up of medical grade stainless steel.
10 | Forceps, elevators and luxators should withstand repeated autoclaving at standard setting without damage or rust.
11 | All joints of forceps should be easily movable but should work without risk of joint loosening.
12 | Handle should have indentations or rough surface to enable firm grip without slippage during use.
13 | Tips of forceps and elevators should be fine and angled enough to facilitate effective and efficient extraction.
14 | Requirements: Hu-Friedy instruments
14.1 | 01. Cryer Universal forceps: | 02 each for uppr and lower arches F 150, F151)
14.1.1 | Used for extraction of incisors, canines, pre-molars and roots.
14.2 | 02. European style serrated anterior forceps | 01 each for upper and lower arches (FX1, FAF X 74N)
14.2.1 | To facilitate extraction of maxillary anterior teeth
14.2.2 | To facilitate extraction of mandibular anterior teeth.
14.3 | 03. European style serrated Pre-molar forceps | 02 each for upper and lower arches. (FX7, FX13)
14.3.1 | To facilitate extraction of maxillary pre molars.
14.3.2 | To facilitate extraction of mandibular pre molars.
14.4 | European style serrated Molar forceps | 01 each for right and left sides of maxillary jaw and 02 for mandibular jaw.
14.4.1 | To facilitate extraction of maxillary molars.
14.4.2 | To facilitate extraction of mandibular molars.
14.4.3 | Upper molar right: FX 17
14.4.4 | Upper molar left: FX 18
14.4.5 | Lower molar: FX 22, FX73
14.5 | Bayonet forceps | 01 nos (F 300)
14.5.1 | Curved bayonet instruments for extraction of maxillary root pieces
14.6 | Root pieces forceps
14.6.1 | To facilitate extraction of maxillary root pieces. | 02 nos (F 69, FX 51)
14.6.2 | To facilitate extraction of mandibular root pieces. | 02 nos (FX 74N, F 301)
14.7 | Cow horn forceps | 01 nos (F 23)
14.7.1 | To facilitate extraction of carious mandibular molars.
14.8 | European style serrated Third molar extraction forceps | 01 each for upper and lower arches (FX 67A, FX 79)
14.8.1 | To facilitate extraction of maxillary 3rd molar
14.8.2 | To facilitate extraction of mandibular 3rd molar – American pattern (right angled beak)
14.9 | Elevators: Hu-Friedy
14.9.1 | 1. Luxator standard | set of 8
14.9.2 | 2. Winter cross-bar handle elevator: | 01 each for right and left side
14.9.3 | 3. Root tip pick Heidbrink elevator: 01 | 1
14.9.4 | 4. Cryer elevator: 01 each for right and left side | 01 each for right and left side
14.9.5 | 5. English pattern Coupland gouge elevator: | 2
14.9.6 | 6.Straight elevator
| 2 mm straight: | 1
| 3 mm straight: | 1
14.9.7 | 7. English pattern elevators: Warwick James
| Straight | 2
| Left | 1
| Right | 1
15 | Standard accessories (Which comes along with the machine, pricing of which is part of the equipment)
16 | Essential accessories (List down essential accessories to carry out certain functions but comes at an extra cost. Prices to be quoted separately)
17 | Regulatory Approvals, If any. Details with copies of approvals.
18 | User's list: A list of installations with the address and contact numbers to be provided. ( User list should be for the quoted model.)
19 | After Sales Service Support.
Bidder should provide address of the authorized service centre and details of number of personnel with training credentials.
20 | Installation, Commissioning, testing and Training
21 | Warranty and after sales support
Warranty: 2 years comprehensive-on site- Factory warranty- for entire equipment. All third party major items, accessories/attachment etc. integrated with the system should also cover 2 years -factory warranty from respective manufacturers.
Free AMC -labour only: For total 7 years, which should include service support during warranty period of 2 years followed by 5 years after completion of warranty. AMC Service should also be extended for all third party items, accessories/attachment etc. supplied with the system and integrated with the main equipment.
During free AMC service period, manufacturer/authorized service provider should provide preventive services as well as attend the breakdown calls as and when requested by the end user/Institute on " no charge basis
22 | Important terms to be noted by the bidders:
| Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
23 | Manufacturer/bidder should clearly indicate typical life span / Life expectancy of the quoted equipment. |  | -- years
24 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
25 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 10 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
26 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
27 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
28 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES/NO/Complied ". |  | Agree/Not Agree
29 | Decleration by the bidder
| We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No