## Complaince
TECHNICAL COMPLIANCE FORM
Ref: Tender No:
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER
TECHNICAL SPECIFICATION OF :- - " Benchtop Next Generation Sequencing System for HLA typing- Reagent rental "
Intended Use: High resolution Next generation sequencing for HLA typing on reagent rental basis.
Sr. No. | Name of the Vendor :
A | Technical Specifications / Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
B | Name of the Manufacturer :
C | Model Name / Model No. of the Equipment (If the equipment is a combination of more than one equipment then list down the model no. pertaining to each) Can Quote more than one model.:To quote only as a reagent rental option.
D | Year of Introduction Internationally
E | Year of Introduction in India
F | Please quote all the models including the latest state of the art model which meets the tender specifications. The offer should be complete in all respect for the intended use.
G | Technical Specifications/Scope of supply
H | " Benchtop Next Generation Sequencing System " , complete as per below mentioned configuration and specifications: | Qty:
I | Features and specifications required:
1 | System should occupy minimal lab footprint and should be offered as a single, integrated instrument capable of performing template DNA amplification, sequencing and primary analysis. Prepared libraries should be loaded directly onto the sequencer, and there should be no need of an ancillary system for template amplification.
2 | The sequencing chemistry should mimic natural biological chemistry with simultaneous addition of all four bases in the sequencing reaction for competitive addition to the DNA template. The chemistry should thus allow for highly accurate sequencing through homopolymeric regions.
3 | The sequencing workflow should allow fully automated, walk-away operation, without user intervention, for template amplification to analyzed data on a single machine, and support unattended operation for at least 300 sequencing cycles.
4 | System should use dedicated reagents for generating data of upto 7.5 Gb and 25 million single reads of high-quality data passing filter. The output should be scalable, for data between 1.65 Gb-7.5 Gb, depending on requirements.
5 | Sequence output should generate accurate base calls and high error free reads with greater than 80% bases with high quality Q30 score at 2x150 bp read length, derived directly from intensity data and not from a reference sequence-based, multiple-color encoding scheme.
6 | Clonal amplification of DNA template should be fully automated on the sequencer, without the involvement of emulsion PCR.
7 | The system should be offered with integrated paired-end fluidics on the instrument, supported with fully automated paired-end chemistry, without user intervention.
8 | The sequencer should facilitate the sequencing Amplicon, targeted RNA, small RNA, HLA typing and targeted gene panel sequencing.
9 | The system should have an option of integrating with a cloud based computing environment, for data storage, sharing and analysis.
10 | The sequencing chemistry should be robust and globally proven, demonstrated with over 5000 peer reviewed publications.
11 | System should offer the user-friendly sequencing experience, such as, intuitive touchscreen user interface, RFID tracking and pre-mixed/pre-filled integrated reagent cartridge for minimal user intervention.
12 | Specification for HLA Typing
13 | 1 Amplification: Should offer a flexibility of Multiplex or Singleplex based amplification strategy (06 or 11 loci).
14 | 2. Coverage: High coverage of all major HLA Gene regions. Should offer a flexibility of Full Gene / Partial coverage for above locus.
15 | 3. Software should be at least two algorithms to determine HLA genotypes
16 | 4. Software should be fast and standalone software and should work with multiple Microsoft windows based OS.
17 | 5. Smart Flagging System that enables users to make accurate allele call in minimum amount of time
18 | 6. Include a smart flagging system-identifies CWD, Rare allele , Novel genomic allele
19 | 7. One pass program with confidence score for each genotype
20 | 8. Multiple user access and utilization without affecting operational efficiency
21 | 10 Database: Should offer latest IMGT Database.
22 | 11. Novel Allele submission tool: software should offer tool for submission of New alleles.
Expected Work load :
23 | The projected Approximate annual work load | 1900 Nos.
24 | HLA typing’s per month | 160 Nos.
25 | Performance parameter required as below: ( like accuracy, sensitivity, sample volume requirement, resolution or such performance parameters to be highlighted)
26 | Standard accessories (Which comes along with the machine, pricing of which is part of the equipment)
27 | Essential accessories (List down essential accessories to carry out certain functions but comes at an extra cost. Prices to be quoted separately)
28 | Essential Spares: Please list down the spare parts which requires to changed during Preventive/ Break down maintenance: Vendor should provide all the eseential spares , as and when required.
29 | Essential consumables:
30 | Indicate if the quoted model needs proprietary consumables (Equipment being closed or open system)
31 | Provide List of consumables with their prices in the Financial bid. (partial list is given below but all relevant consumable prices are to be quoted)
32 | Upgradibility capability (List down possible upgrades for the quoted model)
33 | On-Line UPS/Voltage Stabilizer requirements
34 | Incase if required, then please provide the suitable rating UPS/ Stabilizer at your cost.
35 | Periodic Calibration- Vendor responsibility
36 | IQ/OP/PQ and Calibration
37 | IQ/OQ/PQ and Calibration/validation of the system is included in the scope of supply. All standards, test samples, other consumables, etc. needed for the same shall be arranged by the supplier/ manufacturing company.
38 | IQ/OQ should be done at the time of installation. Proper certifications for NABL accreditation should be provided by the manufacturer/supplier/bidder.
39 | Regulatory Approvals, If any. Details with copies of approvals.
40 | Safety requirements:It should follow International / national safety requirement. Please specify certification with certifying agency and country with copies of certificate.
41 | User's list: A list of installations with the address and contact numbers to be provided. ( User list should be for the quoted model.)
42 | Multiple Models: If more than one model is offered, then they are to be separately filled and submitted according to the given format.
43 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase. Specify if any other power supply requirement is recommended.
44 | After Sales Service Support.
45 | 1. Complete operational manuals and technical information including circuit diagrams should be provided. 2. Company should provide technical support for hardware and software, spares and consumables. 3. Bidders who do not qualify this critera shall not be considered. Bidder should provide address of the authorized service centre and details of number of personnel with training credentials.
46 | Preinstallation Requirements :- Provide details of preinstallation requirements, special ambient conditions, if any, space requirement, any other special needs.
47 | Installation, Commissioning, testing and Training
48 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift/shift the consignment from unloading site to the installation site . Unloading site shall be "Stores Department, KS Building, ACTREC Campus". If needed, Bidder has to arrange for the labourers at no charge to ACTREC. ( Before submitting the quotation, bidders may visit ACTREC to know unloading site and installation site)
49 | Installation,Commissioning and Training is included in the scope of supply. Bidder, Manufacturer and/or its authorized representative should undertake installation and commissioning of the equipment.
50 | Complete system should be installed, tested for its performance as per manufacturer's SOP/guidelines and demonstrated to the Institute's Users. In depth training should be provided to the Institute's users for maintenance,usage and applications.
51 | Warranty and after sales support
52 | Warranty: Till equipment will be used in Actrec.All maintence , spare replacement etc. are the responsibility of vendor.
53 | Uptime guarantee during warranty period : Bidder should specify the uptime guarantee offered during the warranty .
54 | Incase the equipment is down for more than 72 hrs, then standby equipment should be provided.
55 | List of spares and consumables recommended to be kept in stock |  | Agree/Not Agree
56 | Important terms to be noted by the bidders: |  | Agree/Not Agree
57 | Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
58 | Manufacturer/bidder should clearly indicate typical life span / Life expectancy of the quoted equipment. |  | Agree/Not Agree
59 | Mention typical site requirements for the installation. |  | Agree/Not Agree
60 | Mention the time required to install the system. |  | Agree/Not Agree
61 | Quote separately for all models meeting the described technical specifications including the latest model. |  | Agree/Not Agree
62 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Yes/No
63 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 10 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features)
64 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected.
65 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment.
66 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms.
67 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ".
68 | L1 Identification Criteria:
68.1 | To provide Cost/ Test.and the methodology adopted for calculation in the finacial bid
68.2 | L1 will be identified based on all total cost per month for all the tests with the indicated volume .
69 | Decleration by the bidder
70 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection.