## Complaince
TECHNICAL COMPLIANCE FORM
Ref: Tender No:
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER
TECHNICAL SPECIFICATION OF :- - " Tissue Floating Water bath" -1 Number "
Intended Use:
Sr. No. | Name of the Vendor :
1 | Technical Specifications / Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
2 | Name of the Manufacturer :
3 | Model Name / Model No. of the Equipment (If the equipment is a combination of more than one equipment then list down the model no. pertaining to each) Can Quote more than one model.:
4 | Year of Introduction Internationally
5 | Year of Introduction in India
6 | Technical Specifications/Scope of supply
7 | " Tissue Floating Water bath " , complete as per below mentioned configuration and specifications: | Qty: 1 No.
8 | Features and specifications required:
9 | Should have a rectangular design with atleast one side broad enough to keep the glass slide.
10 | Should have a capacity of minimum 2 litres.
11 | Jet black inner surface of the chamber / or with a removable glass tray with illumatinon light source which provides better contrast to identify sections and easy to clean surface.
12 | Electronic temperature control for exact temperature regulation .
13 | Temperature indication by digital display.
14 | Temperature range : Ambient to + 100°c.
15 | High temperature consistency to maintain specimens and solutions at required temperature.
16 | Temperature should be adjustable by membrane keypad or knobs should be less sensitive to water spillage, paraffin contamination.
17 | Should have place for slide draining/ drying
18 | Temperature stability +/-0.5 to 1°c or more accurate.
19 | Outer parts should be made with corrosion free material.
20 | Calibration certificate twice a year during 2 years warranty as per NABL norms.
21 | Should be USFDA approved or CE marked.
22 | Performance parameter required as below: ( like accuracy, sensitivity, sample volume requirement, resolution or such performance parameters to be highlighted)
23 | Standard accessories (Which comes along with the machine, pricing of which is part of the equipment)
24 | periodic calibration:
25 | Should perform calibration of the equipment yearly during warranty & CMC (If CMC is entered into) which wil include spares replacement, validation, consumable spares, Preventive Maintenance, Breakdown calls.Testing & measuring equipments used should be traceable to SI units through National /international Standards (as per NABL norms).
26 | Safety requirements:It should follow International / national safety requirement. Please specify certification with certifying agency and country with copies of certificate.
27 | User's list: A list of installations with the address and contact numbers to be provided. ( User list should be for the quoted model.)
28 | Multiple Models: If more than one model is offered, then they are to be separately filled and submitted according to the given format.
29 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase. Specify if any other power supply requirement is recommended.
30 | After Sales Service Support.
31 | Warranty and after sales support
32 | Warranty: 2 years comprehensive-on site- Factory warranty- for entire equipment. All third party major items, accessories/attachment etc. integrated with the system should also cover 2 years -factory warranty from respective manufacturers.
33 | Free AMC -labour only: For total 7 years, which should include service support during warranty period of 2 years followed by 5 years after completion of warranty. AMC Service should also be extended for all third party items, accessories/attachment etc. supplied with the system and integrated with the main equipment.
34 | Important terms to be noted by the bidders:
35 | Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
36 | Manufacturer/bidder should clearly indicate typical life span / Life expectancy of the quoted equipment. |  | -- years
37 | Quote separately for all models meeting the described technical specifications including the latest model. |  | Agree/Not Agree
38 | Bidders should clearly mention about compliance of the warranty and AMC/free service terms in the technical bid. Bids not fully complying to the warranty and AMC/free service terms are liable to be rejected. |  | Agree/Not Agree
39 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
40 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 10 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
41 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
42 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
43 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
44 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
45 | Decleration by the bidder