TATA MEMORIAL CENTRE

Advanced Centre for Treatment, Research and Education in Cancer

Technical Specification of: Spot light for Medical Examination rooms

TECHNICAL REQUIREMENT:

Compact wall mounted Spot light for the Medical examination of Patients at the Treatment/ Examination Room.

Name of the Manufacturer:

Name of the Vendor:

| Sr. No. | Description of item | Compliance |
| --- | --- | --- |
|  | Model Name: |  |
|  | Make: |  |
| 1 | Light should be shadow less |  |
| 2 | The flexible arm and light head should be easy to clean and safe to disinfect |  |
| 3 | Arm length should be around 90cm -1metre. |  |
| 4 | Light should be with single compact illumination head with a diameter is 6cm or less than that.. |  |
| 5 | Light head should be height & direction adjustable. |  |
| 6 | Light should be either railing mount or wall mount.. |  |
| 7 | ON/OFF switch should be available on Dome or arm. |  |
| 8 | LED lamps are preferable |  |
| 9 | In put Power supply should be 220-230V/50Hz AC |  |
| 10 | The weight should not exceed 3 kg. |  |
| 11 | CE/FDA Approved |  |
| 12 | Warranty: Minimum 1 year |  |