## Complaince
TECHNICAL COMPLIANCE FORM
Ref: Tender No:
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER
TECHNICAL SPECIFICATION OF :- - " CHEMILUMINESCENCE BASED FULLY AUTOMATED IMMUNOASSAY ANALYSER "
Intended Use: CHEMILUMINESCENCE BASED FULLY AUTOMATED IMMUNOASSAY FOR INFECTIOUS MARKERS TESTING OF BLOOD DONORS ON REAGENT RENTAL BASIS
Sr. No. | Name of the Vendor :
A | Technical Specifications / Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted. | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted. | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
B | Name of the Manufacturer :
C | Model Name / Model No. of the Equipment (If the equipment is a combination of more than one equipment then list down the model no. pertaining to each) Can Quote more than one model.:
D | Year of Introduction Internationally
E | Year of Introduction in India
F | Technical Specifications/Scope of supply
G | " Chemiluminescence based fully automated immunoassay Analyser " , complete as per below mentioned configuration and specifications: | Qty:
H | Features and specifications required:
1 | System should be quoted on reagent rental basis only & not on outright purchase
2 | System should be brand NEW, fully automated continuous loading analyzer with random access
3 | System should use Chemiluminescence technology for infectious markers screening of Blood donors with high sensitivity and linearity
4 | System should have the following assay specification: Antibody to HIV with subtype HIV 1& 2 including groups of P & O and P24 antigen; HbsAg must be able to detect all HBV mutants (R1 to R13); Antibody to HCV should be reliable to detect all known HCV genotypes
5 | System should be compact size with minimum space requirement & having a minimum test throughput of 80 tests per hour
6 | System should have the shortest assay/Reaction time
7 | System should have universal sample tray to accommodate multiple sample tube sizes/sample cups with a onboard sample capacity of at least 30.
8 | System should have provision of STAT samples including access to the samples during operations.
9 | System should have the facility for clot detection, bubble detection, check viscosity, sample level and short samples to ensure accuracy preventing erroneous results due to improper samples.
10 | System should have an ability to do on board dilution and reflex dilution for high and abnormal samples.
11 | System should have the disposable tip sampling system to overcome the carryover and or cross contamination probability.
12 | System should have the capability of inbuilt inventory management system for tracking all the reagents and supplies automatically
13 | System software must have the capability to diagnose the hardware performance using dedicated software with the provision to log all activities for full traceability
14 | System should have on board refrigeration facility with controlled temperature and humidity
15 | System should have sample bar code reading facility
16 | System should have Inbulit Quality Control system to monitor the quality of result obtained
17 | System software should have Patient/Donor history recall option.
18 | System's interfacing with Laboratory information system/ Blood Bank Software & will be the vendor’s responsibility to establish the interface
19 | Assay reagents & Calibrators should be ready to use
20 | Calibrators should be supplied free of cost and should be of maximum two points
21 | The workload may increase/ decrease as per requirement of department and placement of additional equipment with increasing workload will be the responsibility of the vendor
22 | Positive control and negative control- Will be run on daily basis or as per the stability data provided in literature(whichever is earlier)
23 | System should be able to process following parameters with Present Sample load for Reagent Rental basis & to be quoted as Cost per reportable test (Price of Reagents(Cleaner/Washer/Diluent) /Kits /Calibrator/ QCs (Positive control and Negative control required daily) /Tips required /Any other accessory must be included)
24 | Anti-HIV 1 & 2 plus P24 antigen - 750 samples/ month
25 | HBsAg - 750 samples/ month
26 | Anti- HCV- 750 samples/ month
27 | With approximate monthly utilization mentioned , Cost per reportable test and how the calculation is done to arrive at it is to be indicated.
28 | L1 will be identified based on total of all cost per reportable test / month of tests with the indicated sample volumes
29 | Standard accessories (Which comes along with the machine, pricing of which is part of the equipment)
30 | Essential accessories (Essential to carry out certain functions but comes at an extra cost. Prices to be quoted separately)
31 | Optional accessories (List out all the optional accessories. Prices to be quoted separately in the Financial bid
32 | Essential consumables:
33 | Indicate if the quoted model needs proprietary consumables (Equipment being closed or open system)
34 | Provide List of consumables with their prices in the Financial bid. (partial list is given below but all relevant consumable prices are to be quoted)
35 | Upgradibility capability (List down possible upgrades for the quoted model)
36 | New software/technology updates are to be periodically installed in the system with no additional cost to the institute
37 | On-Line UPS/Voltage Stabilizer/ Printer
38 | Suitable power UPS should be provided and the maintanence shall be entirely the responsibility of the vendor.
39 | Suitable Laser Printer shall be provided and the maintanence shall be entirely the responsibility of the vendor.
40 | Periodic Calibration: Is the responsibility of the vendor as per standard norms.
41 | Regulatory Approvals, If any. Details with copies of approvals.
42 | Reagents should be acceptable by DCGI, N.Delhi & NIB, Noida
43 | Safety requirements:It should follow International / national safety requirement. Please specify certification with certifying agency and country with copies of certificate.
44 | US FDA/CE-IVD approved system certification for the equipment to be submitted.
45 | User's list: A list of installations with the address and contact numbers to be provided. ( User list should be for the quoted model.)
46 | Multiple Models: If more than one model is offered, then they are to be separately filled and submitted according to the given format.
47 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase. Specify if any other power supply requirement is recommended.
48 | After Sales Service Support.
49 | Complete operational manuals and technical information including circuit diagrams should be provided.
50 | The equipment should be entirely maintained by the company with periodic (One visit every six months) preventive maintenance, calibrations and break down repairs including spare parts. The company has to ensure uptime guarantee of 95% taking into consideration 313 working days in a year.
51 | Preinstallation Requirements :- Provide details of preinstallation requirements, special ambient conditions, if any, space requirement, any other special needs.
52 | Vendor should visit and ensure the space provided for the installation of the equipment is adequate for their system.
53 | Ensure the Foot print of the machine should be a match with the installation site.
54 | Installation, Commissioning, testing and Training
55 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift/shift the consignment from unloading site to the installation site . Unloading site shall be "Stores Department, KS Building, ACTREC Campus". If needed, Bidder has to arrange for the labourers at no charge to ACTREC. ( Before submitting the quotation, bidders may visit ACTREC to know unloading site and installation site)
56 | Installation,Commissioning and Training is included in the scope of supply. Bidder, Manufacturer and/or its authorized representative should undertake installation and commissioning of the equipment.
57 | Complete system should be installed, tested for its performance as per manufacturer's SOP/guidelines and demonstrated to the Institute's Users. In depth training should be provided to the Institute's users for maintenance,usage and applications.
58 | Certificate to be provided to the effect that shut down period of the machine must not exceed for more than 48 hours & back up equipment option in case of equipment breakdown.
59 | Warranty and after sales support: It will be a complete vendor's responsibility.
60 | Important terms to be noted by the bidders:
61 | Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
62 | Mention the time required to install the system. |  | - days
63 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 10 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
64 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
65 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
66 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
67 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
68 | Decleration by the bidder
69 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No

## vendorcap
ANNEXURE -G
Ref: Tender No: ACTREC/IMP/2017-18/E-Tender-24
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER (ACTREC)
PURCHASE SECTION
Plot No.1&2, Sector No.22, Kharghar, Navi Mumbai – 410210
TECHNICAL SPECIFICATION OF -- "Immuno Assy Analyser "
VENDOR CAPABILITY FORM
Ref: Tender No:
1 | Name / Title of the Bidder
2 | Due Date of the submission of the tender.
3 | Receipt No. for EMD Amount and Date
4 | Name of the Item / Work
5 | Full Address (recent)
E-Mail (recent)
Tel. No & Mobile No. (recent)
Fax (recent)
6 | Name of the person authorized to deal / undertake business for and on behalf of the bidder
Tel. No & Mobile No. (Recent)
Fax (Recent)
E-Mail (Recent)
7 | Legal entity of the bidder whether Firm / Society / Company / Other entity
a. Registration No.
b. Authority with whom registered
c. Licence No. granted by for
9 | Authorized Area of operation in India
10 | Name of the Principal Organization / Company for and on behalf working in India
11 | Origin of the Principal Organization / Company
Tel. No. & Mobile No.
Fax
13 | Name & Address of the Bankers of the bidders.
14 | Authority / Delegation / Licence No. & Date granted by the principal to the representative bidder
15 | PAN No.
TAN No.
16 | Registration No. granted by Central Excise Commissioner for Service tax
17 | GST No
18 | Central Excise License No.
19 | Import / Export Code No.
License No. for import
20 | No. of staff employed per equipment
a. Scientific
b. Technical
c. Administrative
d. Finance
21 | Support facility equipment No.
22 | Experience of the bidder in dealing with the tendered item. Tenderer must have similar job done in the line of business / experience with 3 to 5 years will be considered
23 | Whether supply of any item / service to TMC in past; if yes indicate the Purchase Order No. & Date

## NEFT
NEFT FORM
Ref: Tender No:
ANNEXURE-J
1) | Name of the Vendor
2) | Vendor Address & Other Particulars
a) | PAN NO.
b) | GST NO.
d) | Mobile No.
e) | Email ID
3) | Account Holder's Name (Title of the Account)
4) | Bank Account No.
5) | Bank Name, Branch & Address
6) | 9-Digit MICR code of the bank
7) | Account type (SB/CURRENT)
8) | IFSC Code (attach xerox copy of cheque)
I hereby declare that the particulars given above are correct and complet. If the transaction is delayed or not effected at all for reasons of incomplete information, I would not hold the user institution responsible. I agree to discharge the responsibilies as a participant under the scheme.
Signature of the Vendor with seal.
Certified that the particulars furnished above are correct as per our records.
Signature of the authorised official from the bank.
Bank stamp :
Date :
Note : Xerox copy of cheque may be attached,without which the form will not be accepted.