## Complaince
TECHNICAL COMPLIANCE FORM
Ref: Tender No:
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER
TECHNICAL SPECIFICATION OF :- - "AUTOMATED BLOOD CULTURE SYSTEM"
Intended Use: Microbial testing of Blood Components
Automated blood culture system for Blood Bank Use on Reagent Rental basis to be quoted as Cost Per Reportable Test (CPRT)
Sr. No. | Name of the Vendor :
A | Technical Specifications / Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted. | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted. | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
B | Name of the Manufacturer :
C | Model Name / Model No. of the Equipment (If the equipment is a combination of more than one equipment then list down the model no. pertaining to each) Can Quote more than one model.:
D | Please quote all the models including the latest state of the art model which meets the tender specifications. The offer should be complete in all respect for the intended use.
E | Year of Introduction Internationally
F | Year of Introduction in India
G | Technical Specifications/Scope of supply
H | Features and specifications required: | Qty:
1 | System should be quoted on reagent rental basis only and not on outright purchase
2 | System should be brand new, fully automated modular system capable of monitoring the presence or absence of micro-organisms in blood components for bacteria, yeast etc intended for quality control testing
3 | System should have the capability for accurate detection & identification of a wide variety of micro-organisms including aerobic, anaerobic bacteria, fungi etc and should be capable of processing both adult and paediatric samples in respective bottles.
4 | System should have specific algorithms for detection of growing micro organisms and should be capable of continuous monitoring of all samples for growth of micro organisms.
5 | System should be based on sensitive fluorescence/colorimetric technology for interpretation of results.
6 | System should have a compact design with stackable units fit and minimum equipment footprint
7 | The system should be fully automated & user friendly with touch screen operation in facilitating bottle handling (sample standardization, loading, incubating and reading the results)
8 | System should have provision of STAT samples including access to the samples during operations.
9 | System and its consumables should not have a potential biohazard risk for personel and should have shatter resistant culture bottles
10 | Capacity : ≥ 150 bottle positions, with expandable design with the ease of sample loading flexibility
11 | System should have on board incubation & agitation facility with controlled temperature and humidity
12 | System should have continuous monitoring and notification system with audio-visual alarms along with remote alerts for positive bottles
13 | System should have enhanced visual indicators both inside and outside the instrument in the form of different colored LEDS to indicate exact station status available, ongoing, positive, and negative & anonymous
14 | Every cell (bottle position) should have its own optics and detection device.
15 | System should be capable of analyzing delayed entry specimens at any microbial growth stage along with routine samples in case of blood culture
16 | The culture media must have strong resin based antibiotic removal devices to minimize chances of false negatives due to high antibiotics in specimens and have minimal time to detection of organism.
17 | The culture media should be free from substances which inhibits proper interpretation of gram-staining, hence causing any delay in critical callouts. Media should not have any masking effect for easier interpretation of Gram staining of positive isolates.
18 | The culture bottles should have high stability and long shelf life. The shelf life of consumables should be declared along with the quote.
19 | The culture bottles should have aerobic, anaerobic & fungi detection in a different bottles (FDA approved Two Bottle culture) as per standard algorithmn
20 | Testing base: Should be on disposable sealed bar coded card / panel (ready to use) with pre filled reagents. There should be no need to add any additional reagents after incubation
21 | System should have sample bar code reading facility for tracking the sample and reduce bottle handling errors
22 | System should have Inbuilt quality control and calibration facility to avoid any manual daily maintenance. User intervention for routine QC/calibration should not be required
23 | System should have the capability of inbuilt inventory management system for tracking all the reagents and supplies automatically
24 | System software should have Patient/Donor history recall option and intepret results as per NCCLS guidelines.
25 | System's interfacing with Laboratory information system/ Blood Bank Software will be the vendor’s responsibility.
26 | The workload may increase as per the requirement of department and placement of additional equipment will be the responsibility of vendor
27 | Assay reagents & Calibrators should be ready to use (autocalibration)
28 | Calibrators, if any, should be supplied as part of the reagent kits with each lot
29 | With approximate monthly utilization mentioned, cost per reportable test and how the calculation is done to arrive at it is to be indicated
30 | L1 will be identified based on total of all cost per reportable test/ month of tests with the indicated sample volumes.
31 | Equipment: ( Present Sample load for Reagent Rental basis to be quoted as CPRT)
32 | Should including cost per reportable test (Price of Reagents(Cleaner/Washer/Diluent) /Kits /Calibrator/QCs (Positive control and Negative control required daily) /Tips required /Any other accessory must be included) | Total= 440 samples/ month
33 | Aerobic culture bottles (Adult/ Paediatric) for Single Donor Platelets | 150 samples/ month
34 | Anaerobic culture bottles (Adult/ Paediatric) for Single Donor Platelets | 150 samples/ month
35 | Aerobic culture bottles (Adult/ Paediatric) for Packed Red Blood Cells | 70 samples/ month
36 | Anaerobic culture bottles (Adult/ Paediatric) for Packed Red Blood Cells | 70 samples/ month
37 | Performance parameter required as below: ( like accuracy, sensitivity, sample volume requirement, resolution or such performance parameters to be highlighted)
38 | Standard accessories (Which comes along with the machine, pricing of which is part of the equipment)
39 | Computer System should be provided and maintained by the vendor.
40 | Microbiology Data Management & Informatics Solution should be provided and maintained by the vendor.
41 | Essential accessories (List down essential accessories to carry out certain functions but comes at an extra cost. Prices to be quoted separately)
42 | Essential Spares: Please list down the spare parts which requires to changed during Preventive/ Break down maintenance:
43 | It shall be entirely vendor's responsibility to meet up the preventive/ Break-down maintenance
44 | Essential consumables:
45 | Indicate if the quoted model needs proprietary consumables (Equipment being closed or open system)
46 | Provide List of consumables with their prices in the Financial bid. (partial list is given below but all relevant consumable prices are to be quoted)
47 | Upgradibility capability (List down possible upgrades for the quoted model)
48 | New software/technology updates should be periodically installed in the system with no additional cost to the institute
49 | On-Line UPS/Voltage Stabilizer requirements
50 | Associated items required for functioning of the instrument should be provided by the company like suitable UPS with atleast 15- 30 min battery backup should be provided and maintained by the vendor.
51 | Laser Printer should be provided and maintained by the vendor.
52 | Periodic Calibration: Is the responsibility of the vendor as per standard norms.
53 | Regulatory Approvals, If any. Details with copies of approvals.
54 | The machine should be FDA/European CE/ISI/DCGI approved system certification for the equipment to be submitted.
55 | Reagents should be acceptable by DCGI,N.Delhi/ NIB, Noida
56 | Safety requirements:It should follow International / national safety requirement. Please specify certification with certifying agency and country with copies of certificate.
57 | User's list: A list of installations with the address and contact numbers to be provided. ( User list should be for the quoted model.)
58 | Multiple Models: If more than one model is offered, then they are to be separately filled and submitted according to the given format.
59 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase. Specify if any other power supply requirement is recommended.
60 | After Sales Service Support.
61 | Complete operational manuals and technical information including circuit diagrams should be provided.
62 | Company should provide technical support for hardware and software, spares and consumables.
63 | Company should provide required spares and consumables for at least 7 years even after discontinuation of the model.
64 | The equipment should be entirely maintained by the company with periodic (One visit every six months) preventive maintenance, calibrations and break down repairs including spare parts. The company has to ensure uptime guarantee of 95% taking into consideration 313 working days in a year.
65 | Preinstallation Requirements :- Provide details of preinstallation requirements, special ambient conditions, if any, space requirement, any other special needs.
66 | Vendor should visit and ensure the space provided for the installation of the equipment is adequate for their system.
67 | Ensure the Foot print of the machine should match with the installation site.
68 | Installation, Commissioning, testing and Training
69 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift/shift the consignment from unloading site to the installation site . Unloading site shall be "Stores Department, KS Building, ACTREC Campus". If needed, Bidder has to arrange for the labourers at no charge to ACTREC. ( Before submitting the quotation, bidders may visit ACTREC to know unloading site and installation site)
70 | Installation,Commissioning and Training is included in the scope of supply. Bidder, Manufacturer and/or its authorized representative should undertake installation and commissioning of the equipment.
71 | Complete system should be installed, tested for its performance as per manufacturer's SOP/guidelines and demonstrated to the Institute's Users. In depth training should be provided to the Institute's users for maintenance,usage and applications.
72 | Certificate to be provided to the effect that shut down period of the machine must not exceed for more than 48 hours & back up option in case of equipment breakdown
73 | Warranty and after sales support; It will be a complete vendor's responsibilty
74 | Quote optionally for the following items: ( Price should be separately quoted in the financial bid)
75 | List of spares and consumables recommended to be kept in stock |  | Quoted/Not Quoted
76 | List of all optionally available accessories |  | Quoted/Not Quoted
77 | Important terms to be noted by the bidders:
78 | Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
79 | Mention typical site requirements for the installation. |  | --
80 | Mention the time required to install the system. |  | - days
81 | Quote separately for all models meeting the described technical specifications including the latest model. |  | Agree/Not Agree
82 | Bidders should clearly mention about compliance of the warranty and AMC/free service terms in the technical bid. Bids not fully complying to the warranty and AMC/free service terms are liable to be rejected. |  | Agree/Not Agree
83 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
84 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 10 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
85 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
86 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
87 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
88 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
89 | Decleration by the bidder
90 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No

## vendorcap
ANNEXURE -G
Ref: Tender No: ACTREC/IMP/2017-18/E-Tender-24
TATA MEMORIAL CENTRE
ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER (ACTREC)
PURCHASE SECTION
Plot No.1&2, Sector No.22, Kharghar, Navi Mumbai – 410210
TECHNICAL SPECIFICATION OF -- "Equipment Name "
VENDOR CAPABILITY FORM
Ref: Tender No:
1 | Name / Title of the Bidder
2 | Due Date of the submission of the tender.
3 | Receipt No. for EMD Amount and Date
4 | Name of the Item / Work
5 | Full Address (recent)
E-Mail (recent)
Tel. No & Mobile No. (recent)
Fax (recent)
6 | Name of the person authorized to deal / undertake business for and on behalf of the bidder
Tel. No & Mobile No. (Recent)
Fax (Recent)
E-Mail (Recent)
7 | Legal entity of the bidder whether Firm / Society / Company / Other entity
a. Registration No.
b. Authority with whom registered
c. Licence No. granted by for
9 | Authorized Area of operation in India
10 | Name of the Principal Organization / Company for and on behalf working in India
11 | Origin of the Principal Organization / Company
Tel. No. & Mobile No.
Fax
13 | Name & Address of the Bankers of the bidders.
14 | Authority / Delegation / Licence No. & Date granted by the principal to the representative bidder
15 | PAN No.
TAN No.
16 | Registration No. granted by Central Excise Commissioner for Service tax
17 | GST No
18 | Central Excise License No.
19 | Import / Export Code No.
License No. for import
20 | No. of staff employed per equipment
a. Scientific
b. Technical
c. Administrative
d. Finance
21 | Support facility equipment No.
22 | Experience of the bidder in dealing with the tendered item. Tenderer must have similar job done in the line of business / experience with 3 to 5 years will be considered
23 | Whether supply of any item / service to TMC in past; if yes indicate the Purchase Order No. & Date

## NEFT
NEFT FORM
Ref: Tender No:
ANNEXURE-J
1) | Name of the Vendor
2) | Vendor Address & Other Particulars
a) | PAN NO.
b) | GST NO.
d) | Mobile No.
e) | Email ID
3) | Account Holder's Name (Title of the Account)
4) | Bank Account No.
5) | Bank Name, Branch & Address
6) | 9-Digit MICR code of the bank
7) | Account type (SB/CURRENT)
8) | IFSC Code (attach xerox copy of cheque)
I hereby declare that the particulars given above are correct and complet. If the transaction is delayed or not effected at all for reasons of incomplete information, I would not hold the user institution responsible. I agree to discharge the responsibilies as a participant under the scheme.
Signature of the Vendor with seal.
Certified that the particulars furnished above are correct as per our records.
Signature of the authorised official from the bank.
Bank stamp :
Date :
Note : Xerox copy of cheque may be attached,without which the form will not be accepted.