TATA MEMORIAL CENTRE

ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER (ACTREC)

(A Grant-in-Aid institute under the Department of Atomic Energy, Govt. of India)

Sector No.22, Kharghar, Navi Mumbai – 410210, Maharashtra, INDIA.

Notice inviting ‘II-Part Tender’ (NIT)

Director, Advanced Centre for Treatment Research & Education in Cancer (ACTREC), Tata Memorial Centre, Sector 22, Kharghar, Navi Mumbai 410210, invites tender in Single Part  [Technical  Bid and Financial Bid] for the supply, installation and commissioning of the equipment as per below mentioned details:

| Tender Number | ACTREC/PUR/2021-22/AMC - 359 |
| --- | --- |
| Tender Date | 02/06/2021 |
| Name of the Equipment and Quantity to purchase | AMC for Drip and Sprinkler Irrigation system at ACTREC AS PER ATTACHED SPECIFICATION |
| Mode of Tendering | II- Part Technical Bid and Financial Bid |
| EMD | NIL |
| Tender Fee | NIL |
| Due date and time of submission of the tender: | 05/07/2021– up to 5.30 pm |
| Date and time of opening of Technical & Financial Bids. | on 06/07/2021 – 02.30 pm onwards |

Following documents are attached herewith as a part of NIT:

| Annexure | Description of the document Technical Offer - Annexure A to Annexure G Commercial Offer - Price Bid - Annexure H (Part A & B) |
| --- | --- |
| A | Scope of Work |
| B | Instructions to the Tenderer/Bidder for Submitting Tender Documents |
| C | Format of Vendor capability Performa to be duly filled, signed, stamped and to be submitted with the technical bid |
| D | Format for Undertaking for installation, commissioning and providing training to the nominated staff and replacement of spare parts / consumables and supply thereof during the warranty as well as maintenance contract period, to be duly filled, signed, stamped and to be uploaded with the technical bid |
| E | Format of NEFT/RTGS details to be duly filled, signed, stamped and to be submitted with the technical bid |
| F | Format of Disclosure of existing customers to whom the supply of equipment / service was made available in India to be duly filled, signed, stamped and to be submitted with the technical bid |
| G | FORM OF BID SECURITY DECLARATION (EMD) |
| H | Commercial Offer – Price Bid Form Part A – AMC Charges for Drip and Sprinkler Irrigation System Part B – Item wise Spare Material Rate |

Tenderers/Bidders are requested to read carefully all above mentioned documents (Annex. A to G)  prior to submission of the tender. Information is asked to be filled in various formats should be properly filled and submitted along with the technical offer of the tender/bid.

The bidder may contact the following officials for any clarification required:

- Mr. V.L. Khair & Mrs. Priti Patil  Tel No: 022- 2268735000 Ext: 5111/5551 for technical clarification with respect to Tendered technical specifications

- Purchase Dept.  At Tel No. : 022- 2268735000 Extn.5041, 5002 for tender procedure related clarifications and other tender related queries.

PURCHASE OFFICER

For ACTREC

Annexure A

OPERATION & MAINTEANCE OF LANDSCAPE IRRIGATION SYSTEM

SCOPE OF WORK AND TECHNICAL SPECIFICATIONS TABLE OF CONTENT

1.0 Introduction.............................................................................................................

2.0 Scope of Work..........................................................................................................

3.0 Response Time…………………………………………………………………………………………………….…

4.0 Maintenance Records and Reporting: ......................................................................

5.0 Payment ……………………………………………………………………………………………………………….

1.0   Introduction

The Employer's Requirements - Specifications for O & M of Landscape Irrigation system is described in this document.

2.0   Scope of Work

2.1 General:

The Operation & Maintenance services shall include but not be limited to the following:

- Maintenance of the equipment and preventive maintenance in accordance with the

recommendations of the equipment manufacturers. Wherever there is no specific recommendation from the manufacturers, the preventive maintenance shall be carried out as per BIS guidelines and best industry practices.

- Preparing maintenance schedules and carrying out of maintenance as per O&M manual to be prepared by the Contractor and reviewed by the Employer’s Representative.

- The schedules will be drawn monthly/half yearly and yearly and where required.

- The scope of services includes flushing of mainline, sub mains and drip lines and cleaning of sprinklers, solenoid valves and valve boxes and other related work.

- The scope of services includes inter alia cleaning of all electrical & mechanical equipment, checking working relays, meters, indications lamps, tripping mechanism o breakers, switches, controller and other works related to preventive maintenance.

- Spares parts due to faulty operation is included in the scope.

- Maintaining of historical records of preventive maintenance is included in the scope.

- Consumables, tools & tackles required for carrying out preventive maintenance are included in the scope.

The Contractor shall carry out all maintenance tasks including both regular and unscheduled maintenance to ensure that irrigation systems are operating reliably and efficiently to deliver the irrigation water to the planted areas.

Maintenance of the irrigation application systems shall include but not be limited to the following items:

A) Pipe-work: Maintenance of all lateral irrigation pipes downstream of the main distribution pipes.

b) Application devices: Solenoid valves, pop-up sprayers and sprinklers, drip emitters and drip-lines.

2.2 Maintenance Procedure:

The Contractor shall perform regular scheduled maintenance in accordance with an agreed schedule, which shall be submitted to the Client for approval but shall be subject to revision and re-submission when necessary. The following table lists the minimum requirements for scheduled maintenance tasks:

| Sr. No. | Activities to be done by contractor | Monthly |
| --- | --- | --- |
| 1. | Checking of Pumping of system |  |
| 2. | Cleaning & Flushing of Screen |  |
| 3. | Checking of Irrigation controller. |  |
| 4. | Checking of Valves, QCV and ARV |  |
| 5. | Checking of Solenoid valves, and Cables |  |
| 6. | Cleaning of Valve chambers and Valve boxes |  |
| 7. | Checking & Flushing of Mainline & Drip Lines |  |
| 8. | Checking & Adjusting of Sprinkler |  |
| 9. | Over all functioning of system. |  |
| 10. | Checking of Electrical Components related to Pumping system |  |

2.2 Maintenance Tasks

The Contractor shall be responsible for the maintenance of each and every component of the irrigation systems. Maintenance shall include but not be limited to the following:

a) The Contractor shall check all the sprayers and sprinklers on a monthly basis to confirm that the system is giving proper spray coverage to the grass.

b) The Contractor shall be responsible for the drip-line position and shall ensure adequate water supply to the root zone of the plants. The drip-lines shall be adjusted on a weekly basis where needed. Any leakage or breakage of the drip-line shall be rectified on a daily basis.

c) Solenoid valves shall be checked on a monthly basis for smooth operation. The Contractor shall be responsible to check the operation of the valves on a regular basis and if the solenoid coil is short-circuited, the coil shall be replaced.

d) The pressure regulator shall be adjusted if there is any variation in the pressure setting. For sprinkler valves the pressure to be set at the required pressure after confirming the type of sprinkler being used and their operating pressure requirement.

e) The Contractor shall be responsible for cleaning of entire valve chambers and valve boxes, and ensuring that they remain dry. This shall be done every month.

f) Laterals and drip-lines shall be flushed on a monthly basis when the system is in operation and when pipe-lines are in pressure. Flush valve shall be opened and the water is to be drained through a flexible pipe. Drip-lines are also to be flushed by opening the end plugs and to be left opened for at least 2 to 5 minutes.

g) System pressure and the sprayers, sprinklers, bubblers, drippers, solenoid valves, air vent valves, quick coupling valves etc. shall be monitored on a monthly basis to detect any leakage in the pipe-lines.

2.3 Method statement for Maintenance:

Below are the procedural requirements for maintenance in Irrigation system.

2.3.1 Checking Pop-Up sprinkler Heads

A Pop Up can get clogged from the impurities in the water and hence checking of the Pop-Up’s head section vise every week shall be done. If the flow is not smooth the filter in the spray head shall be removed and cleaned. If the problem persists the point of connection shall be checked.

2.3.2 Checking of Irrigation controller

Irrigation controller shall be checked on monthly basis for smooth operation. It should be programmed as per the climatic condition in order to have the best possible usage of available water. Its battery shall be checked once in a month to save the programming in case of power failure due to any reason.

2.3.3 Checking of Solenoid Valves:

Solenoid valves shall be checked on monthly basis for smooth operation. Sometimes because of impurities in the water the diaphragm will not seat properly and the valve will be open continuously. In such case the bonnet shall be removed and cleaned from inside. There are chances that the solenoid coil can get short-circuited in which case it shall be replaced.

2.3.4 Cleaning of Valve Chambers and Valve Boxes:

All the valve chambers and boxes shall be cleaned every month and kept dry.

2.3.5 Overall Functioning Of the System:

The system pressure and bubblers, drippers and solenoid valves shall be monitored on monthly basis to detect any leakage in the pipelines.

2.4 Method statement for Operation:

The following steps are to be carried out to ensure the smooth operation of the system:

i. Check the water level in the reservoir.

ii. Check the irrigation controller for any faulty signal.

iii. Check the system pressure in the discharge header of the Pump. iv. Check the inlet and outlet pressure of the filter in the pump station.

v. Check any leakage in the pump station.

vi. Check any leakage in the screen filter and sand filter.

vi. Check any leakage on the main line or in any of its components.

vii. Check the functioning of sprayers/ sprinklers, bubblers and drip emitters. viii. Check the overall functioning of the system.

2.5 Operational Programme

Controller programme and valve schedules shall be prepared and submitted by the Contractor for the approval of the Client. These schedules shall be prepared and are to be submitted one month before the commencement of each season.

2.6 Materials

All materials used for maintenance of the irrigation system, including spare parts and consumables, shall be of the highest quality from one of the leading manufacturers and shall be subject to the Client’s prior approval. Cost of spares shall be paid extra at unit rates agreed. Delivery challans for the material brought in to ACTREC Campus, duly endorsed by security, shall be submitted along with bills.

3.0 Response time:

3.1 Maintenance

The Contractor shall meet all maintenances programmes as detailed in the Tender Documents and subsequently approved schedules and programmes.

3.2 Emergency Works

The Contractor shall respond as quickly as possible and in any case within the time scale defined below for emergency situation.

| Sr. No. | Works Description | Minimum Respond time |
| --- | --- | --- |
| 1 | Any burst pipe or other Significant water leakage. | The leakage to be stopped and rectification works to commence if practically possible relative to the leakage condition within 24 hours of event being identified by or verbally intimated to the Contractor |
| 2 | Equipment/infrastructure Malfunction. | Rectification work to commence within 24 hours of conclusion of malfunctioning of system. •All major obstructions or dangerous resultant effects to be rectified within 48 hours. •Removal of broken branches and debris to be completed within 48 hours. |

4.0 Maintenance Records and Reporting:

4.1 Monthly Maintenance Schedule

A Monthly Maintenance Schedule shall be prepared forecasting maintenance operations for the coming month. This shall be submitted for approval to the Engineer before 25th of the preceding month. Maintenance jobs required shall not be limited to this schedule and we shall carry out any additional maintenance works required other than those mentioned in this maintenance schedule to keep the landscaped area well maintained.

A copy of this schedule shall be submitted to the Engineer/Horticulture Supervisor every week so that a running record of proposed operations can be checked at the maintenance inspections each month.

4.4 Monthly Report

A monthly report detailing all activities and practices completed and carried out during the previous month shall be submitted to the Engineer for review. The Engineer or Horticulture Supervisor shall review, comment and approve the works completed based monthly forecasted work schedules and other instructions.

5.0 Payment:

Payments shall be settled quarterly after satisfactory completion of work.

Annexure B

Instructions to the Tenderer/Bidder for submitting the tender documents

- Tenders are to be submitted in sealed envelopes super scribed with tender number, due date and time and clearly mentioning the name and address of the tenderer.

- Technical  Bid and Financial Bid should be kept in two separate sealed covers and both these covers again to be put in a single sealed cover and are required to be submitted within the specified due date and time.

- Tenders should be submitted at the Purchase Department , 3 rd floor, Paymaster Shodhika building, ACTREC, Sector 22, Kharghar, Navi Mumbai – 410210 on or before due date and time as specified in the notice inviting tender.

- Technical Bids will be opened as per tender opening date and time specified in the notice inviting tender, in the presence of the attending bidders.

- Technical Bids ( Part I)  will be opened as per tender opening date and time specified in the notice inviting tender,  in the presence of the attending bidders.

- Date of opening of the Financial bid (Part-II) will be intimated only to those bidders who are technically qualified after evaluation of the Technical Bid (Part-I).

- Each and every page of the technical offer as well as the financial offer to be signed by the bidder. No overwriting is permissible and such document having correction is liable to be rejected.  However, cutting will be permissible on attestation by the authorized person

- The tenderer /contractor/company should furnish Annexures C to F   as per format along with tender technical bid. Format of annexures must be as per the details mentioned above. Any changes in the text matter are not accepted and TMC-ACTREC reserves the right to reject such offers.

- The bidder should provide GST No. and License No. as may be required for manufacturing of item and/or import from foreign origin.

- Experienced bidder should attach certificate of their past experience in support of their capability in the field of dealing with the item tendered.

- . Foreign agencies should provide declaration as per following format:

- They have a Permanent Establishment or dependent agent in India or not.

- TRC (Tax Residential Certificate) of foreign party (Principals)

- PAN No. of the foreign agency

In any supply item or any part of work is found defective or fails to meet the requirements of the contract before it is accepted, the ACTREC shall give the contractor a notice setting forth details of such defects or failures and the contractor shall forthwith arrange to set right the defective work or replace the defective supply by the good one to make it comply with the requirements of the contract. This in any case shall be completed within a period not exceeding one month from the date of the initial report pointing out the defects. The replacement or rectification shall be made at site by the contractor at free of cost. Should the contractor fail to do the needful within this stipulated time frame, ACTREC reserves the right to reject the work/equipment in full or in part and get it replaced at the cost of the contractor. The cost of any such replacement made by the ACTREC shall be deducted from the amount payable to the contractor against this work order.

TERMINATION FOR DEFAULT

- ACTREC, may without prejudice to any other remedy for breach of contract, by written notice of default, sent to the contractor, for termination of this contract in whole or in par.

- If the contractor fails to deliver any or all the work within the time period (s)specified in the contract, or any extension thereof granted by ACTREC.

- If the contractor fails to perform any other obligation(s) under the contract

- If the contractor in either of the above circumstances, does not remedy his failure within a period of 15 days (or such longer period as ACTREC may authorize in writing) after receipt of the default notice from ACTREC on a notice period of 30 days.

- In the event of ACTREC terminate the contract in whole or in a part pursuant to above para the ACTREC may execute the work upon such term and in such manner as it deems appropriate work similar to those undelivered and contractor shall be liable to ACTREC for any excess cost for such similar work. However, the contractor shall continue the performance of the contract to the extent not terminated.

ADDITIONAL OR EXTRA WORK

ACTREC reserve the right to place extra items other than schedule quantity for completion of GIVEN WORK ORDER. In such cases the Engineer In- Charge Calculate the expenditure for supply and execution of such work by taking quotation from local agency and adding applicable levis, labor charges, incidental expenditure, profit etc as per the normal procedure to arrive suitable rate. He may also obtain the expenditure of the extra item either from CPWD manual or from the work order executed for government organization for similar work in the recent past.

Annexure C

- ADVANCED CENTRE FOR TREATMENT RESEARCH & EDUCATION IN CANCER

- TATA MEMORIAL CENTRE Plot No-1&2, Sector 22, Kharghar, Navi Mumbai. 410210

PURCHASE SECTION

VENDOR CAPABILITY FORM

| Tender No: |  |
| --- | --- |
| Name / Title of the Bidder |  |
| Due Date and time of the submission of the tender. |  |
| Name of the Item / Work |  |
| Full Address (recent) |  |
| E-Mail (recent) |  |
| Tel. No & Mobile No. (recent) |  |
| Fax (recent) |  |
| Name of the person authorized to deal / undertake business for and on behalf of the bidder |  |
| Tel. No & Mobile No. (Recent) |  |
| Fax (Recent) |  |
| E-Mail (Recent) |  |
| Legal entity of the bidder whether Firm / Society / Company / Other entity |  |
| a. Registration No. |  |
| b. Authority with whom registered |  |
| c. Licence No. granted by for |  |
| Main business of the bidder whether Manufacturer, Business Distributor, Wholesale Dealer, Retail trader or Service Agent |  |
| Authorized Area of operation in India |  |
| Name of the Principal Organization / Company for and on behalf working in India |  |
| Origin of the Principal Organization / Company |  |
| Address of the Principal Organization / Company |  |
| Tel. No. & Mobile No. |  |
| Fax |  |
| E-Mail |  |
| Name & Address of the Bankers of the bidders. |  |
| Authority / Delegation / Licence No. & Date granted by the principal to the representative bidder |  |
| PAN No. |  |
| TAN No. |  |
| Registration No. granted by Central Excise Commissioner for Service tax |  |
| GST No. |  |
| Central Excise License No. |  |
| Import / Export Code No. |  |
| License No. for import |  |
| No. of manpower employed by the bidder |  |
| a. Scientific |  |
| b. Technical |  |
| c. Administrative |  |
| d. Finance |  |
| Support facility equipment No. |  |
| Experience of the bidder in dealing with the tendered item. Tenderer must have similar job done in the line of business / experience with 3 to 5 years will be considered |  |
| Whether supply of any item / service to TMC in past; if yes indicate the Purchase Order No. & Date |  |
| Any other relevant information for submission |  |

Certified that the above information is correct & true to the best of my knowledge and belief.  Nothing has been concealed and fabricated and in case any information is found incorrect.  I, the under signatory will be personally responsible.

I/We have read all the general and special Terms and conditions of the tender and the same are acceptable to me/us.

(Tender’s Signature)

Annexure D

- To be printed & executed on Letter head of the supplier company / Indian agent

- UNDERTAKING

To,

The Director,

Advance Centre for Treatment Research & Education in Cancer

Kharghar, Navi Mumbai – 410210.

1.         I, the under signatory hereby undertake to supply, install and erect, testing & commission and maintenance of the equipment namely ____________________________________ for and on behalf of bidder on agreed terms and conditions as have been stipulated and mentioned in the Purchase order on acceptance of my offer for the above equipment / item.

- I, the undersigned also hereby undertake to assure and promise to provide the spare parts within reasonable time for operation of the aforesaid equipment without any charge during the warranty period of 2 years and thereafter I will make available all the spare parts and consumables on the agreed price during the period of annual maintenance contract at least for the period of 5 years from the date of completion of the warranty period at the negotiated rate allowing discount on the price list of the company, authenticated copy of which will be submitted for your record.

- Further also, I undertake to assure and promise to provide technical operational training to the technical staff members of the user Institute without any charge after commissioning of the equipment and condition thereof

- Signature

- Name of authorized person for bidder with seal

Annexure E

| NEFT FORM Format |  |  |
| --- | --- | --- |
| APPLICATION FORM FOR DEPOSITING PAYMENT AGAINST BILLS IN BANK ACCOUNT BY ELECTRONIC CLEARING SERVICE / NEFT |  |  |
| 1) | Name of the Vendor |  |
| 2) | Vendor Address & Other Particulars |  |
| a) | PAN NO. |  |
| b) | GST NO. |  |
| c) | CST NO. |  |
| d) | Mobile No. |  |
| e) | Email ID |  |
| 3) | Account Holder's Name (Title of the Account) |  |
| 4) | Bank Account No. |  |
| 5) | Bank Name, Branch & Address |  |
| 6) | 9-Digit MICR code of the bank |  |
| 7) | Account type (SB/CURRENT) |  |
| 8) | IFSC Code (attach Xerox copy of cheque) |  |
| I hereby declare that the particulars given above are correct and complete. If the transaction is delayed or not effected at all for reasons of incomplete information, I shall not hold the user institution responsible. I agree to discharge the responsibilities as a participant under the scheme. |  |  |
|  |  | Signature of the Vendor with seal. |
| Certified that the particulars furnished above are correct as per our records. |  |  |
|  |  | Signature of the authorised official from the bank. |
| Bank stamp : |  |  |
| Date : |  |  |
| Note: Xerox copy of cheque may be attached, without which the form will not be accepted. |  |  |

Annexure F

- To be printed & executed on Letter head of the supplier company / Indian agent

Schedule of disclosure of existing customers to who supply of equipment / service made available in India

- CERTIFICATE

This is to certify that M/s. __________________________________________ having manufacturing factory / unit at __________________________________________________ and having registered office at ________________________________________________  is a company registered and incorporated company under the Law of the land of ____________________, is our the principal company manufacturing the equipment namely _____________________________.  The said equipment has been supplied, installed and successfully commissioned with the users as are listed with their addresses in annexure hereto.

This is also to certify that we have not supplied above named equipment to any of the users in India at the cost less than the price quoted by us to Director, ACTREC, within the period of last six months.

- Signature

- Name of authorized person for bidder with seal

Annexure G

FORM OF BID SECURITY DECLARATION (EMD) DECLARATION SHOULD BE ON LETTER HEAD WITH SIGNATURE AND SEAL OF COMPETENT AUTHORITY.

Date: [insert date (as day, month and year]

To,

Director,

TATA MEMORIAL CENTRE – ACTREC

Plot No. 1 & 2, Sector 22,

Kharghar, NAVI MUMBAI 410 210.

Tender No. ______________________________________.]

I/we have gone through the tendering conditions pertaining to the Tender and General Conditions of Contract, Special Conditions of Contract and Additional Conditions of Contract, if any.

We, the undersigned, declare that:

We understand that, according to your conditions, bids must be supported by a Bid-Securing Declaration.

We accept that we will automatically be suspended from being eligible for bidding in any contract for the period of time of 3 years  , if we are in breach of our obligation(s) under the bid conditions, because we:

(a) have withdrawn our Bid during the period of bid validity specified in the tender; or

(b)  having been notified of the acceptance of our Bid during the period of bid validity,

(i)   fail or refuse to execute the Contract, if required, or

(ii)  fail or refuse to furnish the Performance Security

Purchaser will be at liberty to accept anyone or more of the items of stores offered by us and I/We shall be bound to supply the stores as may be specified in the purchase order / contract.

We understand this Bid-Securing Declaration shall expire if we are not the successful Bidder, upon the earlier of (i) our receipt of your notification to us of the name of the successful Bidder; or (ii) twenty-eight days after the expiration of our Bid.

Signed: [insert signature of person whose name and capacity are shown]

In the capacity of [insert legal capacity of person signing the Bid-Securing Declaration]

Name: [insert complete name of person signing the Bid-Securing Declaration]

Duly authorized to sign the bid for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Corporate Seal (where appropriate)

[Note: In case of a Joint Venture, the Bid-Securing Declaration must be in the name of all partners to the Joint Venture that submits the bid.]

Annexure H

COMMERCIAL OFFER –PRICE BID FORM

| Part -A |  |
| --- | --- |
| AMC charges for Drip and Sprinkler irrigation system at ACTREC for five years |  |
| Period | Amount(IN Rupees) |
| 1st Year AMC |  |
| 2nd Year AMC |  |
| 3rd Year AMC |  |
| 4th Year AMC |  |
| 5th Year AMC |  |
| Total( In Rupees) |  |
| CGST (9%) |  |
| SGST (9%) |  |
| Grand Total (In Rupees) |  |
| Amount in Words :- |  |

Note:

Lowest Bidder will be identified on Composite Offer on the basis of rates in PART – A & B those who have already qualified in Technical Bid