## BoQ1
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: | Director TMC
Name of Work: | Construction for Pantry inside the ICU recovery area in RRS building at ACTREC.
Contract No: | TMC/ACTREC/ENGG/AU-35/SQ-98/Construction for Pantry in RRS/2023.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | HSN Code | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | PVC wall panel: Providing and fixing required at site the PVC panelling with 6mm commercial PVC PASTI WOOD PLAY as per required shade of approved make and quality on both sides of partition with 6mm groove. any other fittings & fixtures required all as specified and directed. | item3 | 15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | STRUCTURAL STEEL WORK: At all levels including supplying cutting fabricating welding or blotting erecting and fixing in position including painting with a primary coat of approved steel primer, including cost of materials labour with chasing in wall or embedding in floor and making good the same by filling 1:2:4 cement concrete and plastering if necessary all as specified and directed by Engineer-in-Charge. |  | 500 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | GRANITE: Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. |  | 5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | In brick work MAKING HOLE: Making hole in concrete/brick masonry of required size (approx. 0.3 x 0.3) and refilling it with 1:2:4concrete/brick work with plaster c.m. 1:4 neeru or sand face finish curing including cost of all materials labour etc. carting away dismantled material out of hospital premises all complete as specified and directed. |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | 40mmP.V.C. PIPES: Providing, laying, jointing, fitting, testing heavy quality P.V.C. pipes of Prince, Supreme etc. make & of required dia including all fittings required as per site requirement & laying the same at any floor levels including scaffolding all jointing materials & clamping in wooden blocks if required etc. complete as directed & specified by Engineer-In-Charge. |  | 20 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | 25mm n.bC.P.V.C. PIPE- CONCELED providing, laying , jointing, fitting & testing C PVC pipe SDR of heavy quality following dia for hot & cold water distribution system of approved make (prince, fiNoslex, supreme, liaison, Astral make) including all fittings required as per site requirement for concealed pipe laying by chasing in wall, floors and making good the same to the original condition and for open type of pipe laying and fixing in proper line & level with necessary PVC clamps wood packing etc. fixing the joints with proper solvent or threaded type fittings or press type fittings etc. complete all as per specified and directed by Engineer in Charge. |  | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Size of sinks 600*450*200mmProviding and fixing best quality kitchen sink of hind ware make no. 50002 snick comprising best quality white glazed vitreous chinaware fire clay kitchen sinks of size mentioned below with integral overflow weir at end supported on pair of white enamel painted C.P brackets. One number suitable CP Brass waste coupling heavy quality with rubber plug and CP Chain. One number suitable size heavy quality CP brass bottle trap with extension piece and wall flange. complete all as per specified and directed by Engineer in Charge. |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Fancy Stop Cock (Concealed Type) with wall flange Plumber/Jaguar make Cat no. 87 Providing 15mm dia C.P. brass fancy bib tap weighing not less than 600 gm RMC approved make (latest) and conforming to IS 781-1977 and fixing with pipe line including cost of jointing materials and pressure of 10 Kg/cm2 and rectifying the leaky joints if any complete as specified & directed for the following. (Work includes removing old fittings and handing over the same) complete all as per specified and directed by Engineer in Charge |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | C.P. Brass Fancy Pillar Tap Half Turn Jaguar MakeNos.17 Fancy Stop Cock (Concealed Type) with wall flange Plumber/Jaguar make Cat no. 87 Providing 15mm dia C.P. brass fancy bib tap weighing not less than 600 gm RMC approved make (latest) and conforming to IS 781-1977 and fixing with pipe line including cost of jointing materials and pressure of 10 Kg/cm2 and rectifying the leaky joints if any complete as specified & directed for the following. (Work includes removing old fittings and handing over the same) complete all as per specified and directed by Engineer in Charge |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | CUDDAPAH Providing & laying 20-35mm thick cuddaph stone slabs in platforms/sinks with all exposed edges machine cut double machine polished in true plane and level with matching cement paste curing finishing the joints neat etc. complete including making grooves in walls for fixing and making good the surfaces. |  | 5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | SS trolley work: Fabrication, Supply & installation of Stainless steel with SS -304 grade Matt finish open type rack having size of as per site requirement, having over all frame with heavy duty nylon bush for legs made out of SS tubular section of 40x40x3mm thick, having intermediate SS Mesh of 25x25x3mm dia rods mounted on SS frame of 25x25x3mm hollow section at intermediate levels, with solid collection tray with collapsible handle at bottom. All three sides of the cabinet are too finished with SS Mesh of 25x25x3mm. Additional supports required to be provided as per enclosed drawing. |  | 30 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Plywood shutter with sun mica shutter for trolley : Providing & fixing approved quality machine pressed phenol formaldehyde bonded commercial/marine ply wood of approved size and fixing the same with necessary nails/screws/adhesive in partition cupboard shelves/kitchen cabinets/flush doors etc. at all floors and locations in quantities as required at site in following thickness including 6 mm thick T.W.lipping patti at all exposed edges with nails/screws/hardwares/adhesive wastage in cutting , transportation etc. complete all as directed by the Engineer-In-Charge. |  | 2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [11 empty] | 1 | [39 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words | [51 empty] | #VALUE!
Validate
Print
Help

## Macros (hidden)
Please Enable Macros to View BoQ information