## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director TMC
Name of Work: Replacing of Fire Hose Boxes, Pressure gauge, and wrapping coating of fire hydrant system at ACTREC.
Contract No: TMC/ACTREC/ENGG/TP/SQ-154/Fire Hose Boxes/2023.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | SITC of Double door FRP hose box (size 750 Mm X 600mm X 250mm). with 2 nos hose as per IS standard. | item1 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Excavation: Excavation in foundation/trenches/pits drains etc. in all kinds of soils (soft, mild, hard rock without open blasting) up to a required depth. Including shoring and dewatering if necessary and refilling around the foundation plinth and drain line with selected excavation earth in layers and backfilling with same surface as directed by the Engineer-in-Charge. | item2 | 40 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Wrapping to GI Pipes: With membrane of min 4mm thick including lap joint, applying hot bitumen and sealing the joints with hot sealant butane joints complete as directed and instructed. GI Pipes of all diameters. | item3 | 55 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | Supplying, installing, testing & commissioning of UL/ FM approved Pressure Gauge on hydrant pipe at terrace level of 100 mm dia., liquid filled 0-10 bar. Fitted with 15 mm dia. root cock valve, and G.I. pipe, elbow, snubber, process piping etc. as per requirement in an approved manner and Ball Valve. | item4 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5 | P.V.C. PIPES: Providing, laying, jointing, fitting, testing heavy quality P.V.C. pipes of Prince, Supreme etc. make & of required dia including all fittings required as per site requirement & laying the same at any floor levels including scaffolding all jointing materials & clamping in wooden blocks if required etc. complete as directed & specified by Engineer-In-Charge. | item5 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | 40mm | item6 | 40 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7 | 110mm | item7 | 15 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures | [51 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information